[image: image1.png]6l8

IP




210-1010
Mini Cable Glands (B-Type)
[image: image2.png]


[image: image3.png]


[image: image4.png]


[image: image5.png]


[image: image6.png]


PATENTED
Metric
PG
A
B
C
D
F
Lock   Washer

Body

Sealing

Sealing
Nut

(Gasket)
C1
C2

Insert

Nut
Mini Type
• Thread Type :
• Material Data :
• IP Protection :

Metric and PG.
Halogen-free Nylon PA 66 ( Flammability UL 94V-2 ) for A.C.F parts.  ( Contact us for Flammability V0 material ) Weather-resistant EPDM rubbers for B.D parts.  ( NBR rubber is optional for oil-resistance applications )
Our black cable glands are suitable for outdoor use have been subjected to UV light exposure and water immersion same as UL746C (f1) rating. UV ( Irradiance 340 nm ) exposure is performed by using a xenon-arc weatherometer for 1000 hours and intermittent exposure to water spray.
IP68 - 5 bar.
• Working Temp. :  - 40 °C to 105 °C ( - 40 °F to 221 °F ).  Short-Term to 160 °C ( 320 °F ).
• Application :

The smallest & refined mini cable glands are made for tiny devices & equipment where the spaces are limited and the demands IP68 & strain relief are required for mounting small cable diameters. Due to their special designs, cable with a diameter from 1 mm to 6 mm can be mounted with only two mini cable gland sizes. AVC polyamide mini-type cable glands have the smallest bodies with the best approved weather resistant, waterproof and strain relief abilities in outdoor / indoor cable entry applications, which are the best cord grip systems used for electrical and electronics technologies, solar PV modules, LED lights, traffic signals, surveillance cameras, measuring and sensor equipment.
* Contact us for designing & ordering different sealing hole patterns. ( Sealing Inserts are not sold separately )
* AVC sealing inserts are available in split versions for mounting wires with pre-assembled terminals or connectors. ( Minimum order quantity is required )
* The Washer ( Gasket ) and Lock Nut are all included in each cable gland, this saves additional ordering work and storage locations.
Seal
Holes
B TYPE


Thread
M8 X 1.25
M10 X 1.5
M12 X 1.5

Cable
Range

Thread
O. D.


Panel Mounting Hole

Thread
Length

Spanner
Size
A / F


Body Min. I. D.

Std. Pkg.
PG 7
http  :  //  www.ip68.net

12
Dimensions and specifications may be changed without prior notice.
�








�








�








�








�








Cat. No.�
�



Sizes�
Black


RAL 9005�
Light Grey


RAL 7035�
Silver Grey


RAL 7001�
�






MGB8	- 04 - ST�
B�
G�
SG�
4.5 ~ 2.5�
8�
8 ~ 8.3�
7.5�
13 / 12�
4.5�
50�
�
MGB10   - 03 - ST�
B�
G�
SG�
3.1 ~ 1.5�
10�
10 ~ 10.3�
8�
15 / 13�
6�
50�
�
MGB10   - 06 - ST�
B�
G�
SG�
6 ~ 3�
10�
10 ~ 10.3�
8�
15 / 13�
6�
50�
�






MGB12S - 03 - ST�
B�
G�
SG�
3.1 ~ 1.5�
12�
12 ~ 12.3�
8�
18 / 13�
6�
50�
�
MGB12S - 06 - ST�
B�
G�
SG�
6 ~ 3�
12�
12 ~ 12.3�
8�
18 / 13�
6�
50�
�
PGB7S   - 03�
B�
G�
SG�
3.1 ~ 1.5�
12.5�
12.5 ~ 12.8�
8�
17 / 13�
6�
50�
�
PGB7S   - 06�
B�
G�
SG�
6 ~ 3�
12.5�
12.5 ~ 12.8�
8�
17 / 13�
6�
50�
�






�








�
�
�
�
�
mmφ�
C1 mm�
mm�
C2 mm�
mm�
mm�
pcs�
�
MGB8�
- 02 - ST�
B�
G�
SG�
2.5 ~ 1�
8�
8 ~ 8.3�
7.5�
13 / 12�
4.5�
50�
�









